**Odour control system for Solid Wast Processing in Ireland**

Processing of waste in Ireland is done different processing plants. Some of these recycling plants are located near urban areas and EPA (environmental Public authority) can insist on implementing an Odour Control System to minimize the odour nuisance caused by the recycling process. For this purpose, IPEC NV has developed an odour control system to abate the odour from solid waste recycling plants. The odour control system consists out of a ventilation system to extract the odour from the process hall. The extracted air is passed over a prefilter to remove impurities and after which an activated carbon system removes the odourous compounds.

Special attention has to be paid to the ventilation system in terms of air tightness of the building, ventilation rate and extraction points. It is preferred to ventilate through a local extraction point, just above the most emitting odour sources, s.a. the reception of the fresh waste, the shredders and trommels,… To achieve an adequate ventilation system, a certain ventilation rate (sufficient number of airchanges) is required to keep the process hall in underpressure and to avoid the leakage of unwanted odour emissions. In an airtight building, the underpressure can be established with a smaller ventilation rate than in a more open building. (*foto invoegen van ventilation ducting*)

Ventilating the process facility can have some additional benefits for the plant itself since it will improve the indoor climate. The humidity in the hall will be controlled and the corrosion because of the combination of moist with abrasive gasses will be reduced.

The ventilated air is passed through a dust filter which removes the impurities, debris and oily mist from the air before it enters the carbon system. The prefilter should be designed with great care to avoid early clogging. For cleaning purposes, the prefilter is equipped with a spraying system. By means of a pressure measurement, clogging of the filter is detected and immediate action can be taken by spraying automatically a detergent solution on the prefilter to remove dirt and fat. Fine filter system like sleeve filters is less suitable in solide waste plants because of the fine structure and the higher pressure drop, especially since the air is contaminated with oil mist that can’t be removed from a sleeve filter. (*foto van prefilter invoegen*)

Within the waste processing plants, different types of odour can be distinguished. In general it is noted that the receipted waste is rather emitting mainly volatile organic compounds (VOC), eg ketones, fatty acids, … . While the stored waste bales are having high emissions of sulphur compounds ( H2S, mercaptans,…). To abate the odour emission of these different sources, IPEC NV has designed an odour control system that is capable of handling both VOC and H2S, based on activated carbon technology. The carbon used in our system is pelletized carbon, characterized by a low pressure drop and a high odour removal capacity. The carbon can be impregnated in situ to increase the H2S removal capacity, depending needs of the particular plant. The carbon is placed in horizontal container with a spraying system on top. By means of this spraying system, the carbon can be washed to avoid the clogging if any impurities have passed the prefiter. *(foto van container invoegen)*

The system is custom made, based on the size of the process hall and the odour load. It can be provided in 1 container up to a flow of 70 000 m³/hour. Depending on the requirements, it can be highly automated and provided of scada or other controls which makes the system easy to operate.

Contact gegevens

IPEC NV

[info@ipec.be](mailto:info@ipec.be)

+32 9/2557012

Ipec is part of the Trevi-group, specialists in environmental solutions, providing different techniques for air treatment and odour removal such as biofilters, scrubbers, activated carbon systems … Have a look at [www.trevi-env.com](http://www.trevi-env.com).